Pelbu Suites

BAFRA Hotel Compliance and SOP Manual

Department Manual — Engineering / Maintenance

Regulatory authority: Bhutan Agriculture and Food Regulatory Authority (BAFRA)

Property: Pelbu Suites

Department: Engineering / Maintenance

Document type: Department SOP, logbooks & compliance pack

Review cycle: Annual, or after any BAFRA inspection finding

# 1. Department role

Engineering maintains water safety evidence, cold-storage equipment reliability, grease traps, pest-control access for contractors, and facility conditions that prevent hygiene failures.

# 2. Regulatory documents owned / co-owned

## Water quality testing report

- Periodic microbial and chemical analysis of water source by an accredited laboratory.

- File latest report; diary next test date.

## Pest control service agreement & visit records

- Support Management contract; escort technician; unlock plant rooms and external areas.

## Waste / drainage related clearances

- Coordinate grease trap maintenance evidence with Kitchen schedule.

# 3. Logbook B — Cold storage equipment support

Kitchen records daily temps; Engineering investigates out-of-range units and records corrective work.

| Date | Unit ID | Reported °C | Fault found | Action taken | Back in range? | Engineer sign | Chef sign |
| --- | --- | --- | --- | --- | --- | --- | --- |

# 4. Logbook D — Pest Control Monitoring

## Purpose

Track pest sighting, preventative measures, and professional visits.

## Parameters

- Date of inspection, areas inspected, findings, corrective actions, technician signature.

| Date | Areas inspected | Findings | Corrective action | Tech. signature | Hotel sign |
| --- | --- | --- | --- | --- | --- |

| Date | Areas inspected | Findings | Corrective action | Tech. signature | Hotel sign |
| --- | --- | --- | --- | --- | --- |

# 5. SOP 04 — Grease traps & facilities

- Grease traps cleaned and maintained weekly (or per manufacturer / municipal rule).

- Ensure handwash stations have running water; report failures immediately.

- Repair fridge/freezer faults same day when out of BAFRA range; quarantine product with Kitchen.

# 6. Engineering checklist

☐  Latest water quality report on file and valid.

☐  Pest control visit completed per contract; log signed.

☐  Grease trap service recorded this week.

☐  No unresolved critical fridge/freezer faults.